Copyright 2014 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MasterSpec Section is licensed by ARCOM to Vetrotech Saint-Gobain ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text, and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA).  Neither AIA nor ARCOM are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user.  A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Vetrotech Saint-Gobain, 2108 B Street NW, Auburn, WA; Phone: (888) 803-9533; Fax: (253) 333-5166; Website: www.vetrotechusa.com; Email: vetrotechsales@saint-gobain.com.

For information about MasterSpec contact ARCOM at (800) 424-5080 or visit www.MasterSpec.com.

SECTION 088813 - FIRE-RESISTANT GLAZING

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section Includes:

Fire-protection-rated glazing is tested for use in a fire door assembly or fire window and is limited to such use.

          - Fire-protection-rated glazing.

Fire-resistance-rated glazing is tested the same as a wall assembly is tested and can be used in fire-resistance-rated walls and frames.

          - Fire-resistance-rated glazing.

      - DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

        - Glass Manufacturers: Firms that produce primary glass, fabricated glass, or both, as defined in referenced glazing publications.

ASTM C 1036 also includes traditional thickness designations in IP units, but the actual thickness is based on the equivalent IP designation in millimeters.

        - Glass Thicknesses: Indicated by thickness designations in millimeters according to ASTM C 1036.

      - COORDINATION

        - Coordinate glazing channel dimensions to provide necessary bite on glass, minimum edge and face clearances, and adequate sealant thicknesses, with reasonable tolerances.

      - ACTION SUBMITTALS

        - Product Data: Submit manufacturer's technical data for each glazing material required, including installation and maintenance instructions.

        - Sustainable Design Submittals:

"Product Data" Subparagraph below applies to LEED 2009 NC, CI, and CS; LEED v4; IgCC; ASHRAE 189.1; and Green Globes. Coordinate with requirements for sealants.

          - Product Data: For sealants, indicating VOC content.

"Laboratory Test Reports" Subparagraph below applies to LEED 2009 for Schools, LEED v4, IgCC, ASHRAE 189.1, and Green Globes. Coordinate with requirements for sealants.

          - Laboratory Test Reports: For sealants, indicating compliance with requirements for low-emitting materials.

        - Glass Samples: For each type of glass product; 8 inches by 10 inches (203 mm by 254 mm).

        - Glazing Schedule: List glass types and thicknesses for each size opening and location. Use same designations indicated on Drawings.

      - INFORMATIONAL SUBMITTALS

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article.

        - Qualification Data: For [installers] [and] [glass testing agency].

        - Product Certificates: For each type of glass and glazing product, from glazing materials manufacturer.

          - Certificates of compliance for glazing materials attesting that glass and glazing materials furnished for Project comply with requirements.

          - Separate certification will not be required for glazing materials bearing manufacturer's permanent label designating type and thickness of glass, provided labels represent a quality control program involving a recognized certification agency of independent testing laboratory acceptable to authority having jurisdiction.

        - Product Test Listings:  From a qualified testing agency indicating fire rated glass complies with requirements, based on comprehensive testing of current product.

        - Sample Warranties: For special warranties.

      - QUALITY ASSURANCE

If retaining "Installer Qualifications" Paragraph below, verify, with prospective installers, that they can comply with referenced certification requirements.

        - Installer Qualifications: A qualified installer who employs glass installers for this Project who are certified under the National Glass Association's Certified Glass Installer Program.

      - DELIVERY, STORAGE, AND HANDLING

        - Protect glazing materials according to manufacturer's written instructions. Prevent damage to glass and glazing materials from condensation, temperature changes, direct exposure to sun, or other causes.

      - FIELD CONDITIONS

        - Environmental Limitations: Do not deliver or install fire-resistant glazing until spaces are enclosed and weathertight and temporary HVAC system is operating and maintaining ambient temperature conditions at occupancy levels during the remainder of the construction period.

          - Maintain environmental conditions and protect work during and after installation to comply with referenced standards and manufacturer's printed recommendations.

          - Maintain minimum and maximum temperature limits as recommended by manufacturers.

          - Protect adjacent surfaces during progress of the Work in this Section.

      - WARRANTY

        - Manufacturer's Special Warranty on Fire-Rated / Temperature-Rise Glass:

          - Warranty Period: [Three] [Five] years from date of Delivery.

- PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

      - MANUFACTURERS

        - Source Limitations for Glass: Obtain from single source from single manufacturer for each glass type.

        - Source Limitations for Glazing Accessories: Obtain from single source from single manufacturer for each product and installation method.

      - PERFORMANCE REQUIREMENTS

        - General: Installed glazing systems shall withstand normal thermal movement and impact loads (where applicable) without failure, including loss or glass breakage attributable to the following: defective manufacture, fabrication; deterioration of glazing materials; or other defects in construction.

      - GLASS PRODUCTS, GENERAL

Retain "Safety Glazing Labeling" Paragraph below if applicable and if labeling is required. Not all manufacturers participate in third-party testing programs.

        - Safety Glazing Labeling: Permanently mark glazing with certification label of CPSC16 CFR1201-Cat I and II, CAN/CGSB-12.1-M. Label shall indicate manufacturer's name, type of glass, and safety glazing standard with which glass complies.

      - GLASS PRODUCTS

Retain paragraphs in this article that apply to glass types specified.

        - Float Glass: ASTM C 1036, Type I, Quality-Q3, Class I (clear) unless otherwise indicated.

        - Tempered Float Glass: ASTM C 1048, Kind FT (fully tempered), Condition A (uncoated) unless otherwise indicated, Type I, Class I (clear) unless otherwise indicated, Quality-Q3.

          - Fabrication Process: By horizontal (roller-hearth) process with roll-wave distortion parallel to bottom edge of glass as installed unless otherwise indicated.

        - Laminated Glass: ASTM C 1172. Use materials that have a proven record of no tendency to bubble, discolor, or lose physical and mechanical properties after fabrication and installation.

          - Construction: Laminate glass with polyvinyl butyral interlayer unless fire-protection or fire-resistance rating is based on another product.

          - Interlayer Thickness: Provide thickness as needed to comply with requirements.

          - Interlayer Color: Clear unless otherwise indicated.

      - FIRE-PROTECTION-RATED GLAZING

Fire-protection-rated glazing is tested for use in a fire door assembly or fire window and is limited to such use. If used in openings exceeding 100 sq. in. (0.65 sq. m), glazing must comply with 450 deg F (250 deg C) temperature-rise limitation.

        - Fire-Protection-Rated Glazing: Listed and labeled by a testing agency acceptable to authorities having jurisdiction, for fire-protection ratings indicated, based on positive-pressure testing according to NFPA 252/NFPA 257 or UL 9/10B/10C, CAN/ULC-S104 and S106, including the hose-stream test, and shall comply with NFPA 80.

          - Fire-protection-rated glazing required to have a fire-protection rating of 20 minutes shall be exempt from the hose-stream test.

Retain "Fire-Protection-Rated Glazing Labeling" Paragraph below if applicable and if labeling is required. Below is based on the IBC.

        - Fire-Protection-Rated Glazing Labeling: Permanently mark fire-protection-rated glazing with certification label of a testing agency acceptable to authorities having jurisdiction. Label shall indicate manufacturer's name; test standard; whether glazing is permitted to be used in doors or openings; if permitted in openings, whether or not glazing has passed the hose-stream test; whether or not glazing meets 450 deg F (250 deg C) temperature-rise limitation; and the fire-resistance rating in minutes.

Product in "Fire-Protection-Rated Tempered Glass" Paragraph below is available for 20-minute fire-protection rating. It does not pass hose-stream test contained in NFPA 252 and NFPA 257; however, the IBC exempts the hose-stream test for 20-minute fire-protection-rated door assemblies, but does require it for glazing material in transoms and sidelites.

        - Fire-Protection-Rated Tempered Glass: 6-mm thickness, fire-protection-rated tempered glass; and complying with 16 CFR 1201, Category II.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Vetrotech Saint-Gobain; Pyroswiss or a comparable product by one of the following:

            - AGC Glass Company North America, Inc.

            - Technical Glass Products.

            - <Insert manufacturer's name>.

Product in "Film-Faced Ceramic Glazing" Paragraph below is available for 20-, 45-, 60-, 90-, and 120-minute fire-protection rating, but not with 450 deg F (250 deg C) temperature-rise limitation.

        - Film-Faced Ceramic Glazing: Clear, ceramic flat glass; 5-mm thickness; faced on one surface with a clear glazing film; and complying with 16 CFR 1201, Category II.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Vetrotech Saint-Gobain; Keralite Filmed (F) or a comparable product by one of the following:

            - AGC Glass Company North America, Inc.

            - SAFTI FIRST Fire Rated Glazing Solutions.

            - Schott North America, Inc.

            - Technical Glass Products.

            - <Insert manufacturer's name>.

Product in "Laminated Ceramic Glazing" Paragraph below is available for 20-, 45-, 60-, 90-, and 180-minute fire-protection rating, but not with 450 deg F (250 deg C) temperature-rise limitation.

        - Laminated Ceramic Glazing: Laminated glass made from two plies of clear, ceramic glass; 8-mm total thickness; and complying with 16 CFR 1201, Category II.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Vetrotech Saint-Gobain; Keralite Laminated (L) or a comparable product by one of the following:

            - AGC Glass Company North America, Inc.

            - SAFTI FIRST Fire Rated Glazing Solutions.

            - Schott North America, Inc.

            - Technical Glass Products.

            - <Insert manufacturer's name>.

Product in "Laminated Glass with Intumescent Interlayers" Paragraph below is available for 45-minute fire-protection rating.

        - Laminated Glass with Intumescent Interlayers: Laminated glass made from multiple plies of uncoated, float glass; with intumescent interlayers; and complying with 16 CFR 1201, Category II.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Vetrotech Saint-Gobain; Contraflam or a comparable product by one of the following:

            - AGC Glass Company North America, Inc.

            - SAFTI FIRST Fire Rated Glazing Solutions.

            - Technical Glass Products.

            - <Insert manufacturer's name>.

Product in "Tempered Glass with Intumescent Interlayers" Paragraph below is available for 60-, and 90-minute fire-protection rating.

        - Tempered Glass with Intumescent Interlayers: Tempered glass made from multiple plies of uncoated float glass; with intumescent interlayers; and complying with 16 CFR 1201, Category II.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Vetrotech Saint-Gobain; Contraflam or a comparable product by one of the following:

            - SAFTI FIRST Fire Rated Glazing Systems.

            - <Insert manufacturer's name>.

      - FIRE-RESISTANCE-RATED GLAZING

Fire-resistance-rated glazing is tested the same as a wall assembly is tested and can be used in fire-resistance-rated walls. Size is limited only by size that was used in test.

        - Fire-Resistance-Rated Glazing: Listed and labeled by a testing agency acceptable to authorities having jurisdiction, for fire-resistance ratings indicated, based on testing according to ASTM E 119 or UL 263.

Retain "Fire-Resistance-Rated Glazing Labeling" Paragraph below if applicable and if labeling is required. Below is based on the IBC.

        - Fire-Resistance-Rated Glazing Labeling: Permanently mark fire-resistance-rated glazing with certification label of a testing agency acceptable to authorities having jurisdiction. Label shall indicate manufacturer's name, test standard, that the glazing is approved for use in walls, and the fire-resistance rating in minutes.

Product in "Tempered Glass with Intumescent Interlayers" Paragraph below is available for 60-, 90-, 120- and 180-minute fire-resistive rating.

        - Tempered Glass with Intumescent Interlayers: Tempered glass made from multiple plies of uncoated float glass; with intumescent interlayers; and complying with 16 CFR 1201, Category II.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Vetrotech Saint-Gobain; Contraflam or a comparable product by one of the following:

            - AGC Glass Company North America, Inc.

            - SAFTI FIRST Fire Rated Glazing Solutions.

            - Technical Glass Products.

            - <Insert manufacturer's name>.

Product in "Tempered Glass with Intumescent Interlayers" Paragraph below is available for 60-, 90-, and  120-minute fire-resistive rating.

        - Tempered Glass with Intumescent Interlayers: Tempered glass made from multiple plies of uncoated, float glass; with intumescent interlayers; and complying with 16 CFR 1201, Category II.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Vetrotech Saint-Gobain; Contraflam or a comparable product by one of the following:

            - SAFTI FIRST Fire Rated Glazing Solutions.

            - <Insert manufacturer's name>.

Product in "Tempered Glass with Intumescent Interlayers" Paragraph below is available for 180-minute fire-resistive rating.

        - Tempered Glass with Intumescent Interlayers: Tempered glass made from multiple plies of uncoated float glass; with intumescent interlayers; and complying with 16 CFR 1201, Category II.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Vetrotech Saint-Gobain; Contraflam or a comparable product by one of the following:

            - <Insert manufacturer's name>.

      - GLAZING ACCESSORIES

        - Provide glazing gaskets, glazing sealants, glazing tapes, setting blocks, spacers, edge blocks, and other glazing accessories that are compatible with glazing products and each other and are approved by testing agencies that listed and labeled fire-resistant glazing products with which products are used for applications and fire-protection ratings indicated.

        - Glazing Sealants for Fire-Rated Glazing Products: Neutral-curing silicone glazing sealant complying with ASTM C 920, Type S, Grade NS, Class 50, Use NT. Comply with sealant and glass manufacturers' written instructions for selecting glazing sealants suitable for applications indicated.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

            - Dow Corning Corporation.

            - GE Construction Sealants; Momentive Performance Materials Inc.

            - Tremco Incorporated.

            - <Insert manufacturer's name>.

Subparagraph below applies to LEED 2009 NC, CI, and CS; LEED v4; IgCC; ASHRAE 189.1; and Green Globes.

          - Sealant shall have a VOC content of 250 g/L or less.

Subparagraph below applies to LEED 2009 for Schools Credit IEQ 4.1.

          - Sealant shall comply with the testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

          - Colors of Exposed Glazing Sealants: [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

        - Back-Bedding Mastic Glazing Tapes: Preformed, butyl-based, 100 percent solids elastomeric tape; nonstaining and nonmigrating in contact with nonporous surfaces; with or without spacer rod as recommended in writing by tape and glass manufacturers for application indicated; and complying with ASTM C 1281 and AAMA 800 for products indicated below:

Retain one or more back-bedding tapes from subparagraphs below. AAMA 804.3 tape is for less-severe back-bedding and drop-in residential and light-commercial glazing applications. AAMA 806.3 tape is for high-performance commercial glazing applications involving continuous pressure from gaskets or pressure-generating stop designs. AAMA 807.3 tape is for commercial glazing applications not involving continuous pressure from gaskets and stop designs.

          - AAMA 804.3 tape, where indicated.

          - AAMA 806.3 tape, for glazing applications in which tape is subject to continuous pressure.

          - AAMA 807.3 tape, for glazing applications in which tape is not subject to continuous pressure.

        - Expanded Cellular Glazing Tapes: Closed-cell, PVC foam tapes; factory coated with adhesive on both surfaces; and complying with AAMA 800 for the following types:

          - AAMA 810.1, Type 1, for glazing applications in which tape acts as the primary sealant.

          - AAMA 810.1, Type 2, for glazing applications in which tape is used in combination with a full bead of liquid sealant.

      - MISCELLANEOUS GLAZING MATERIALS

        - General: Provide products of material, size, and shape complying with referenced glazing standard, requirements of manufacturers of glass and other glazing materials for application indicated, and with a proven record of compatibility with surfaces contacted in installation.

Retain "Cylindrical Glazing Sealant Backing" Paragraph below if applicable for glazing channels.

        - Cylindrical Glazing Sealant Backing: ASTM C 1330, Type O (open-cell material), of size and density to control glazing sealant depth and otherwise produce optimum glazing sealant performance.

        - Perimeter Insulation for Fire-Resistive Glazing: Product that is approved by testing agency that listed and labeled fire-resistant glazing product with which it is used for application and fire-protection rating indicated.

      - FABRICATION OF GLAZING UNITS

        - Fabricate glazing units in sizes required to fit openings indicated for Project, with edge and face clearances, edge and surface conditions, and bite complying with written instructions of product manufacturer and referenced glazing publications, to comply with system performance requirements.

- EXECUTION

      - EXAMINATION

        - Examine framing, glazing channels, and stops, with Installer present, for compliance with manufacturing and installation tolerances, including those for size, squareness, and offsets at corners, and for compliance with minimum required face and edge clearances.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - PREPARATION

        - Clean glazing channels and other framing members receiving glass immediately before glazing. Remove coatings not firmly bonded to substrates.

        - Examine glazing units to locate fire side and protected side. Label or mark units as needed so that fire side and protected side are readily identifiable. Do not use materials that leave visible marks in the completed work.

      - GLAZING, GENERAL

        - Use methods approved by testing agencies that listed and labeled fire-resistant glazing products.

        - Comply with combined written instructions of manufacturers of glass, sealants, gaskets, and other glazing materials unless more stringent requirements are indicated, including those in referenced glazing publications.

        - Protect glass edges from damage during handling and installation. Remove damaged glass from Project site and legally dispose of off Project site. Damaged glass is glass with edge damage or other imperfections that, when installed, could weaken glass and impair performance and appearance.

        - Apply primers to joint surfaces where required for adhesion of sealants, as determined by preconstruction testing.

        - Install setting blocks in sill rabbets, sized and located to comply with referenced glazing publications unless otherwise required by glass manufacturer. Set blocks in thin course of compatible sealant suitable for heel bead.

        - Do not exceed edge pressures stipulated by glass manufacturers for installing glass lites.

        - Provide spacers for glass lites where length plus width is larger than 50 inches (1270 mm).

          - Locate spacers directly opposite each other on both inside and outside faces of glass. Install correct size and spacing to preserve required face clearances unless gaskets and glazing tapes are used that have demonstrated ability to maintain required face clearances and to comply with system performance requirements.

          - Provide 1/8-inch (3-mm) minimum bite of spacers on glass and use thickness equal to sealant width. With glazing tape, use thickness slightly less than final compressed thickness of tape.

        - Provide edge blocking where indicated or needed to prevent glass lites from moving sideways in glazing channel, as recommended in writing by glass manufacturer and according to requirements in referenced glazing publications.

        - Set glass lites with proper orientation so that coatings face fire side or protected side as specified.

Retain both paragraphs below if glazing with wedge-shaped gaskets is required for Project.

        - Where wedge-shaped gaskets are driven into one side of channel to pressurize sealant or gasket on opposite side, provide adequate anchorage so gasket cannot walk out when installation is subjected to movement.

        - Square cut wedge-shaped gaskets at corners and install gaskets in a manner recommended by gasket manufacturer to prevent corners from pulling away; seal corner joints and butt joints with sealant recommended by gasket manufacturer.

      - TAPE GLAZING

        - Position tapes on fixed stops so that, when compressed by glass, their exposed edges are flush with or protrude slightly above sightline of stops.

        - Install tapes continuously, but not necessarily in one continuous length. Do not stretch tapes to make them fit opening.

        - Cover vertical framing joints by applying tapes to heads and sills first and then to jambs. Cover horizontal framing joints by applying tapes to jambs and then to heads and sills.

        - Place joints in tapes at corners of opening with adjoining lengths butted together, not lapped. Seal joints in tapes with compatible sealant approved by tape manufacturer.

        - Do not remove release paper from tape until right before each glazing unit is installed.

Delete first paragraph below if not required, or qualify by adding "where indicated" and show locations on Drawings.

        - Apply heel bead of elastomeric sealant when required as indicated on submittals.

        - Center glass lites in openings on setting blocks and press firmly against tape by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops. Start gasket applications at corners and work toward centers of openings.

Delete paragraph below if not applicable or revise; it assumes fixed stop is located on exterior.

        - Apply cap bead of elastomeric sealant over exposed edge of tape.

      - GASKET GLAZING (DRY)

        - Cut compression gaskets to lengths recommended by gasket manufacturer to fit openings exactly, with allowance for stretch during installation.

        - Insert soft compression gasket between glass and frame or fixed stop, so it is securely in place with joints miter cut and bonded together at corners.

        - Installation with Drive-in Wedge Gaskets: Center glass lites in openings on setting blocks and press firmly against soft compression gasket by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops. Start gasket applications at corners and work toward centers of openings.

        - Install gaskets so they protrude past face of glazing stops.

      - SEALANT GLAZING (WET)

        - Install continuous spacers, or spacers combined with cylindrical sealant backing, between glass lites and glazing stops to maintain glass face clearances. Secure spacers or spacers and backings in place and in position to control depth of installed sealant relative to edge clearance for optimum sealant performance.

        - Force sealants into glazing channels to eliminate voids and to ensure complete wetting or bond of sealant to glass and channel surfaces.

        - Tool exposed surfaces of sealants to provide a substantial washaway from glass.

      - CLEANING AND PROTECTION

        - Immediately after installation, remove nonpermanent labels and clean surfaces.

        - Protect glass from contact with contaminating substances resulting from construction operations. Examine glass surfaces adjacent to or below exterior concrete and other masonry surfaces at frequent intervals during construction, but not less than once a month, for buildup of dirt, scum, alkaline deposits, or stains.

          - If, despite such protection, contaminating substances do come into contact with glass, remove substances immediately as recommended in writing by glass manufacturer.

        - Remove and replace glass that is damaged during construction period.

Retain paragraph below to suit Project. Delete if covered in Section 017700 "Closeout Procedures."

        - Wash glass on both exposed surfaces in each area of Project not more than four days before date scheduled for inspections that establish date of Substantial Completion. Wash glass as recommended in writing by glass manufacturer.

      - FIRE-PROTECTION-RATED GLAZING SCHEDULE

The IBC does not require the hose-stream test for 20-minute fire-protection-rated door assemblies, but does require it for glazing material in transoms and sidelites.

        - Glass Type [FPGL-<#>]: 20-minute fire-protection-rated glazing without hose-stream test; [fire-protection-rated tempered glass] [film-faced ceramic glazing] [laminated ceramic glazing] [laminated glass with intumescent interlayers] [or] [double glazing units with clear gel fill].

        - Glass Type [FPGL-<#>]: 20-minute fire-protection-rated glazing with hose-stream test; [film-faced ceramic glazing] [laminated ceramic glazing] [laminated glass with intumescent interlayers] [or] [double glazing units with clear gel fill].

        - Glass Type [FPGL-<#>]: [45-minute] [60-minute] [90-minute] [180-minute] fire-protection-rated glazing; [film-faced ceramic glazing] [laminated ceramic glazing] [laminated glass with intumescent interlayers] [or] [double glazing units with clear gel fill].

        - Glass Type [FPGL-<#>]: [45-minute] [60-minute] [90-minute] fire-protection-rated glazing with 450 deg F (250 deg C) temperature-rise limitation; [laminated glass with intumescent interlayers] [or] [double glazing units with clear gel fill].

      - FIRE-RESISTANCE-RATED GLAZING SCHEDULE

This Article specifies fire-resistance-rated glazing, which is tested the same as a wall assembly is tested and can be used in fire-resistance-rated walls.

        - Glass Type [FRGL-<#>]: [60-minute] [90-minute] [120-minute] [180-minute] fire-resistance-rated glazing with 450 deg F (250 deg C) temperature-rise limitation; [laminated glass with intumescent interlayers] [or] [double glazing units with clear gel fill].

END OF SECTION 088813